## Bus
This sheet summarizes the parameters for power flow analysis
Bus | Type | Vsp (pu) | theta (rad) | PGi (pu) | QGi (pu) | PLi (pu) | QLi (pu) | Qmin (pu) | Qmax (pu) | Area No. | AC or DC
1 | 1 | 1 | 0 | 3.0081 | 3.1146 | 0 | 0 | -99 | 99 | 1 | 1
2 | 3 | 1.039 | -0.024471 | 0 | 0 | 4.5 | 0.45 | 0 | 0 | 1 | 1
3 | 2 | 1 | 0.85347 | 36 | 5.7364 | 0 | 0 | -99 | 99 | 1 | 1
4 | 2 | 1 | 0.66148 | 25 | 6.6338 | 0 | 0 | -99 | 99 | 1 | 1
5 | 2 | 1 | 0.56271 | 15 | 5.3118 | 0 | 0 | -99 | 99 | 1 | 1
6 | 2 | 1 | 0.68436 | 29.502 | 7.3415 | 0 | 0 | -99 | 99 | 1 | 1
7 | 2 | 1.055 | 0.76825 | 0 | -0.68262 | 3.9 | 0.39 | 0 | 0 | 1 | 1
8 | 3 | 1.0472 | 0.72338 | 0 | 0 | 1.3 | 0.13 | 0 | 0 | 1 | 1
9 | 3 | 1.0221 | 0.4833 | 0 | 0 | 18.8 | 1.88 | 0 | 0 | 1 | 1
10 | 3 | 1.0324 | 0.45816 | 0 | 0 | 2.1 | 0.21 | 0 | 0 | 1 | 1
11 | 3 | 1.0379 | 0.53083 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
12 | 3 | 1.0594 | 0.46564 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
13 | 3 | 1.0081 | 0.32933 | 0 | 0 | 17 | 1.7 | 0 | 0 | 1 | 1
14 | 3 | 1.0084 | 0.3338 | 0 | 0 | 16.6 | 1.66 | 0 | 0 | 1 | 1
15 | 3 | 1.0426 | 0.39564 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
16 | 3 | 1.0256 | 0.32726 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
17 | 3 | 1.0433 | 0.57795 | 0 | 0 | 4.8 | 0.48 | 0 | 0 | 1 | 1
18 | 3 | 1.013 | 0.28094 | 0 | 0 | 18.4 | 1.84 | 0 | 0 | 1 | 1
19 | 3 | 1.0021 | 0.1639 | 0 | 0 | 12.6 | 1.26 | 0 | 0 | 1 | 1
20 | 2 | 1 | -0.059223 | 42 | 9.9644 | 0 | 0 | -99 | 99 | 1 | 1
21 | 2 | 1 | -0.31452 | 9.399 | 1.5458 | 0 | 0 | -99 | 99 | 1 | 1
22 | 3 | 1.0417 | -0.18939 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
23 | 3 | 1.0093 | -0.3796 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
24 | 3 | 1.0164 | -0.39727 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
25 | 3 | 1.016 | -0.43497 | 0 | 0 | 12.3 | 1.23 | 0 | 0 | 1 | 1
26 | 3 | 1.0182 | -0.43587 | 0 | 0 | 6.5 | 0.65 | 0 | 0 | 1 | 1
27 | 3 | 1.0359 | -0.61809 | 0 | 0 | 6.55 | 0.66 | 0 | 0 | 1 | 1
28 | 3 | 1.0291 | -0.16307 | 0 | 0 | 1.95 | 0.2 | 0 | 0 | 1 | 1
29 | 3 | 1.0198 | -0.43297 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30 | 3 | 1.0136 | -0.30831 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31 | 3 | 1.0383 | -0.4118 | 0 | 0 | 1.15 | 0.12 | 0 | 0 | 1 | 1
32 | 2 | 1.015 | -0.52761 | 0 | 0.07399 | 24.05 | 2.4 | 0 | 0 | 1 | 1
33 | 3 | 1.0158 | -0.49771 | 0 | 0 | 2.5 | 0.25 | 0 | 0 | 1 | 1
34 | 3 | 1.0376 | -0.68091 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
35 | 2 | 1 | 1.2974 | 14 | 5.1488 | 0 | 0 | -99 | 99 | 1 | 1
36 | 2 | 1 | 1.8839 | 8.37 | 1.7785 | 0 | 0 | -99 | 99 | 1 | 1
37 | 2 | 1 | 1.9781 | 14 | 2.0919 | 0 | 0 | -99 | 99 | 1 | 1
38 | 2 | 1 | 1.8592 | 15.498 | 3.268 | 0 | 0 | -99 | 99 | 1 | 1
39 | 3 | 1.0312 | 1.7373 | 0 | 0 | 9.9 | 0.99 | 0 | 0 | 1 | 1
40 | 3 | 1.0342 | 1.8289 | 0 | 0 | 7.4 | 0.74 | 0 | 0 | 1 | 1
41 | 3 | 1.0393 | 1.8695 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
42 | 3 | 1.0301 | 1.752 | 0 | 0 | 1.5 | 0.15 | 0 | 0 | 1 | 1
43 | 3 | 0.98553 | 1.3372 | 0 | 0 | 2.6 | 0.26 | 0 | 0 | 1 | 1
44 | 3 | 1.0301 | 1.1894 | 0 | 0 | 5.3 | 0.53 | 0 | 0 | 1 | 1
45 | 3 | 0.99305 | 1.0864 | 0 | 0 | 5.75 | 0.58 | 0 | 0 | 1 | 1
46 | 2 | 1 | 1.0642 | 0 | 0.58162 | 12.55 | 1.26 | 0 | 0 | 1 | 1
47 | 3 | 1.0398 | 1.0638 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
48 | 3 | 1.0418 | 1.0507 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
49 | 3 | 1.0474 | 0.98885 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
50 | 3 | 1.0552 | 0.87735 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
51 | 2 | 1 | -0.96543 | 6 | 0.50693 | 0 | 0 | -99 | 99 | 1 | 1
52 | 2 | 1 | -0.94164 | 8 | 1.6027 | 0 | 0 | -99 | 99 | 1 | 1
53 | 2 | 1 | -0.98233 | 4.36 | 1.0086 | 0 | 0 | -99 | 99 | 1 | 1
54 | 3 | 1.0478 | -1.1049 | 0 | 0 | 3 | 0.6 | 0 | 0 | 1 | 1
55 | 3 | 1.0221 | -1.0624 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
56 | 3 | 1.0204 | -1.0853 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
57 | 2 | 1.015 | -1.1075 | 0 | 0.22648 | 10 | 2 | 0 | 0 | 1 | 1
58 | 3 | 1.0104 | -1.1285 | 0 | 0 | 8 | 1.6 | 0 | 0 | 1 | 1
59 | 2 | 1.03 | -0.7984 | 0 | 0.10554 | 2 | 0.4 | 0 | 0 | 1 | 1

## Apparatus
This sheet summarizes the apparatuses connected to buses.
Bus number | Apparatus type | Apparatus parameters
1 | 0 | 3.6 | 0.9 | 0.14 | 0.0001
3 | 0 | 3.2 | 0.8 | 0.2 | 0.0001
4 | 0 | 2.8 | 0.7 | 0.17 | 0.0001
5 | 0 | 2.6 | 0.65 | 0.2 | 0.0001
6 | 0 | 3.2 | 0.8 | 0.2 | 0.0001
20 | 0 | 2.8 | 0.7 | 0.2 | 0.0001
21 | 0 | 3.5 | 0.875 | 0.15 | 0.0001
35 | 0 | 2.6 | 0.65 | 0.2 | 0.0001
36 | 0 | 3 | 0.75 | 0.2 | 0.0001
37 | 0 | 2.6 | 0.65 | 0.2 | 0.0001
38 | 0 | 4 | 1 | 0.18 | 0.0001
51 | 0 | 3.5 | 0.875 | 0.15 | 0.0001
52 | 0 | 4 | 1 | 0.2 | 0.0001
53 | 0 | 7.5 | 1.875 | 0.15 | 0.0001
2 | 100
7 | 100
8 | 100
9 | 100
10 | 100
11 | 100
12 | 100
13 | 100
14 | 100
15 | 100
16 | 100
17 | 100
18 | 100
19 | 100
22 | 100
23 | 100
24 | 100
25 | 100
26 | 100
27 | 100
28 | 100
29 | 100
30 | 100
31 | 100
32 | 100
33 | 100
34 | 100
39 | 100
40 | 100
41 | 100
42 | 100
43 | 100
44 | 100
45 | 100
46 | 100
47 | 100
48 | 100
49 | 100
50 | 100
54 | 100
55 | 100
56 | 100
57 | 100
58 | 100
59 | 100

## NetworkLine_IEEE
This sheet summarizes the parameters for network line impedance in IEEE form.
Enable:
1
User data:
From bus | To bus | R (pu) | X (pu) | B (pu) | G (pu) | Turns Ratio (pu)
2 | 19 | 0.0084 | 0.0667 | 0.817 | 0 | 1
2 | 19 | 0.0084 | 0.0667 | 0.817 | 0 | 1
2 | 19 | 0.0078 | 0.062 | 0.76 | 0 | 1
2 | 19 | 0.0078 | 0.062 | 0.76 | 0 | 1
2 | 28 | 0.0045 | 0.0356 | 0.437 | 0 | 1
2 | 28 | 0.0045 | 0.0356 | 0.437 | 0 | 1
2 | 28 | 0.0109 | 0.0868 | 0.76 | 0 | 1
7 | 8 | 0.0096 | 0.076 | 0.931 | 0 | 1
7 | 8 | 0.0096 | 0.076 | 0.931 | 0 | 1
7 | 50 | 0.0037 | 0.046 | 0.73 | 0 | 1
7 | 50 | 0.0037 | 0.046 | 0.73 | 0 | 1
8 | 9 | 0.0045 | 0.0356 | 0.437 | 0 | 1
8 | 9 | 0.0045 | 0.0356 | 0.437 | 0 | 1
8 | 14 | 0.0066 | 0.0527 | 0.646 | 0 | 1
8 | 14 | 0.0066 | 0.0527 | 0.646 | 0 | 1
8 | 17 | 0.0066 | 0.0527 | 0.646 | 0 | 1
8 | 17 | 0.0066 | 0.0527 | 0.646 | 0 | 1
9 | 10 | 0.0018 | 0.014 | 0.171 | 0 | 1
9 | 10 | 0.0018 | 0.014 | 0.171 | 0 | 1
9 | 11 | 0.0008 | 0.0062 | 0.076 | 0 | 1
10 | 13 | 0.0031 | 0.0248 | 0.304 | 0 | 1
10 | 13 | 0.0031 | 0.0248 | 0.304 | 0 | 1
10 | 13 | 0.0031 | 0.0248 | 0.304 | 0 | 1
11 | 14 | 0.0045 | 0.0356 | 0.437 | 0 | 1
12 | 15 | 0.001 | 0.0145 | 1.54 | 0 | 1
12 | 15 | 0.001 | 0.0145 | 1.54 | 0 | 1
13 | 14 | 0.0014 | 0.0108 | 0.133 | 0 | 1
13 | 14 | 0.0014 | 0.0108 | 0.133 | 0 | 1
13 | 16 | 0.0019 | 0.0155 | 0.19 | 0 | 1
14 | 19 | 0.007 | 0.0558 | 0.684 | 0 | 1
16 | 18 | 0.001 | 0.0077 | 0.095 | 0 | 1
16 | 19 | 0.0049 | 0.0388 | 0.475 | 0 | 1
17 | 18 | 0.0051 | 0.0403 | 0.494 | 0 | 1
17 | 18 | 0.0051 | 0.0403 | 0.494 | 0 | 1
17 | 19 | 0.0072 | 0.0574 | 0.703 | 0 | 1
17 | 19 | 0.0072 | 0.0574 | 0.703 | 0 | 1
18 | 19 | 0.0051 | 0.0403 | 0.494 | 0 | 1
22 | 23 | 0.002 | 0.028 | 0.74 | 0 | 1
22 | 23 | 0.002 | 0.028 | 0.74 | 0 | 1
22 | 24 | 0.0011 | 0.016 | 1.7 | 0 | 1
22 | 24 | 0.0011 | 0.016 | 1.7 | 0 | 1
23 | 24 | 0.0003 | 0.004 | 0.424 | 0 | 1
24 | 25 | 0.0002 | 0.003 | 0.32 | 0 | 1
24 | 26 | 0.0003 | 0.0045 | 0.447 | 0 | 1
24 | 26 | 0.0003 | 0.0045 | 0.447 | 0 | 1
25 | 26 | 0.0001 | 0.0012 | 0.127 | 0 | 1
26 | 27 | 0.0023 | 0.0325 | 3.445 | 0 | 1
26 | 27 | 0.0023 | 0.0325 | 3.445 | 0 | 1
28 | 29 | 0.0135 | 0.10695 | 0.58267 | 0 | 1
28 | 29 | 0.0135 | 0.10695 | 0.58267 | 0 | 1
28 | 29 | 0.0135 | 0.10695 | 0.58267 | 0 | 1
29 | 30 | 0 | 0.0337 | 0 | 0 | 1
29 | 30 | 0 | 0.0337 | 0 | 0 | 1
31 | 32 | 0.006 | 0.045 | 0.3 | 0 | 1
31 | 32 | 0.006 | 0.045 | 0.3 | 0 | 1
31 | 32 | 0.006 | 0.045 | 0.3 | 0 | 1
32 | 33 | 0.001 | 0.01 | 0.26 | 0 | 1
32 | 33 | 0.001 | 0.01 | 0.26 | 0 | 1
34 | 59 | 0.007 | 0.05 | 0.19 | 0 | 1
34 | 59 | 0.007 | 0.05 | 0.19 | 0 | 1
39 | 40 | 0.0039 | 0.0475 | 0.381 | 0 | 1
39 | 40 | 0.0039 | 0.0475 | 0.381 | 0 | 1
39 | 42 | 0.0054 | 0.05 | 0.189 | 0 | 1
39 | 43 | 0.018 | 0.122 | 0.79 | 0 | 1
39 | 43 | 0.018 | 0.122 | 0.79 | 0 | 1
39 | 43 | 0.018 | 0.122 | 0.79 | 0 | 1
40 | 41 | 0.0006 | 0.0076 | 0.062 | 0 | 1
40 | 41 | 0.0006 | 0.0076 | 0.062 | 0 | 1
41 | 42 | 0.0042 | 0.0513 | 0.412 | 0 | 1
42 | 44 | 0.0165 | 0.192 | 0.67333 | 0 | 1
42 | 44 | 0.0165 | 0.192 | 0.67333 | 0 | 1
42 | 44 | 0.0165 | 0.192 | 0.67333 | 0 | 1
43 | 45 | 0.0103 | 0.0709 | 0.46 | 0 | 1
43 | 45 | 0.0103 | 0.0709 | 0.46 | 0 | 1
44 | 45 | 0.0043 | 0.0532 | 0.427 | 0 | 1
44 | 46 | 0.0043 | 0.0532 | 0.427 | 0 | 1
44 | 46 | 0.0043 | 0.0532 | 0.427 | 0 | 1
44 | 46 | 0.0043 | 0.0532 | 0.427 | 0 | 1
44 | 46 | 0.0043 | 0.0532 | 0.427 | 0 | 1
44 | 47 | 0.004 | 0.0494 | 0.4 | 0 | 1
44 | 47 | 0.004 | 0.0494 | 0.4 | 0 | 1
45 | 46 | 0.0012 | 0.0152 | 0.122 | 0 | 1
45 | 46 | 0.0012 | 0.0152 | 0.122 | 0 | 1
48 | 49 | 0.002 | 0.025 | 0.39 | 0 | 1
48 | 49 | 0.002 | 0.025 | 0.39 | 0 | 1
49 | 50 | 0.0037 | 0.046 | 0.73 | 0 | 1
49 | 50 | 0.0037 | 0.046 | 0.73 | 0 | 1
54 | 57 | 0.023 | 0.15 | 0.56 | 0 | 1
54 | 57 | 0.023 | 0.15 | 0.56 | 0 | 1
54 | 58 | 0.026 | 0.019 | 0.87 | 0 | 1
54 | 58 | 0.026 | 0.019 | 0.87 | 0 | 1
55 | 57 | 0.0016 | 0.017 | 0.03 | 0 | 1
55 | 57 | 0.0016 | 0.017 | 0.03 | 0 | 1
55 | 58 | 0.0025 | 0.028 | 0.17 | 0 | 1
56 | 57 | 0.0016 | 0.017 | 0.03 | 0 | 1
56 | 57 | 0.0016 | 0.017 | 0.03 | 0 | 1
56 | 58 | 0.003 | 0.028 | 0.14 | 0 | 1
57 | 58 | 0.002 | 0.019 | 0.09 | 0 | 1
57 | 59 | 0.09 | 0.66 | 0.3 | 0 | 1
57 | 59 | 0.09 | 0.66 | 0.3 | 0 | 1
57 | 59 | 0.09 | 0.66 | 0.3 | 0 | 1
57 | 59 | 0.09 | 0.66 | 0.3 | 0 | 1
57 | 59 | 0.09 | 0.66 | 0.3 | 0 | 1
57 | 59 | 0.09 | 0.66 | 0.3 | 0 | 1
1 | 2 | 0 | 0.009 | 0 | 0 | 0.939
3 | 8 | 0 | 0.004 | 0 | 0 | 0.9434
4 | 11 | 0 | 0.00576 | 0 | 0 | 0.939
5 | 10 | 0 | 0.00765 | 0 | 0 | 0.939
6 | 17 | 0 | 0.004 | 0 | 0 | 0.939
11 | 12 | 0 | 0.0272 | 0 | 0 | 0.9756
11 | 12 | 0 | 0.0272 | 0 | 0 | 0.9756
11 | 12 | 0 | 0.0272 | 0 | 0 | 0.9756
11 | 12 | 0 | 0.0272 | 0 | 0 | 0.9756
15 | 16 | 0 | 0.0272 | 0 | 0 | 1
15 | 16 | 0 | 0.0272 | 0 | 0 | 1
15 | 16 | 0 | 0.0272 | 0 | 0 | 1
15 | 16 | 0 | 0.0272 | 0 | 0 | 1
20 | 22 | 0 | 0.00343 | 0 | 0 | 0.939
21 | 31 | 0 | 0.01127 | 0 | 0 | 0.9524
23 | 32 | 0 | 0.032 | 0 | 0 | 0.9615
23 | 32 | 0 | 0.032 | 0 | 0 | 0.9615
24 | 30 | 0 | 0.036 | 0 | 0 | 1
24 | 30 | 0 | 0.036 | 0 | 0 | 1
24 | 30 | 0 | 0.036 | 0 | 0 | 1
24 | 33 | 0 | 0.024 | 0 | 0 | 1
24 | 33 | 0 | 0.024 | 0 | 0 | 1
27 | 34 | 0 | 0.027 | 0 | 0 | 1
27 | 34 | 0 | 0.027 | 0 | 0 | 1
35 | 44 | 0 | 0.00845 | 0 | 0 | 0.939
36 | 42 | 0 | 0.017 | 0 | 0 | 0.9524
37 | 41 | 0 | 0.00845 | 0 | 0 | 0.9524
38 | 39 | 0 | 0.0085 | 0 | 0 | 0.9524
47 | 48 | 0 | 0.008 | 0 | 0 | 1
47 | 48 | 0 | 0.008 | 0 | 0 | 1
47 | 48 | 0 | 0.008 | 0 | 0 | 1
51 | 54 | 0 | 0.0255 | 0 | 0 | 0.9524
52 | 55 | 0 | 0.016 | 0 | 0 | 0.9622
53 | 56 | 0 | 0.025 | 0 | 0 | 0.9622

## NetworkLine
This sheet summarizes the parameters for network line impedance.
From bus | To bus | R (pu) | wL (pu) | wC (pu) | G (pu) | Turns ratio (pu)

## Basic
This sheet summarizes basic settings
Samping frequency (Hz) | 25000
Base frequency (Hz) | 50
Base power (VA) | 1
Base voltage (V) | 1

## Advance
This sheet summaries advanced settings.
Item | Value
Discretization method | 2
Linearization times | 1
Discretization damping flag | 1
Direct feedthrough | 0
Power flow algorithm | 2
Enable (create simulink model) | 0
Enable (plot pole map) | 1
Enable (plot admittance) | 1
Enable (print output) | 1
Enable (modal analysis) | 0